Small-Angle X-ray scattering
P. Vachette
(IBBMC, CNRS UMR 8619 & Université Paris-Sud, Orsay, France)
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012

---
Solution X-ray scattering
Diagram of an experimental set-up
Modulus of the scattering vector
s = 2sin
Momentum transfer
q = 4 sin2s
Scattering pattern
X-ray beam

Beam-stop
sample
10µl – 30µl
0.1mg/ml – (>)10mg/ml
Detector
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012

---
scattering by assemblies of electrons
the distance  between scatterers is fixed, e.g. atoms in a molecule :
coherent scattering one adds up amplitudes
Use of a continuous electron density r
and
F(q) is the Fourier Transform of (r)
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
 is not fixed, e.g. two atoms in two distant molecules in solution :
incoherent scattering one adds up intensities.

---
Solution X-ray scattering
In solution what matters is the contrast of electron density between the particle and the solvent (r)  p (r) - 0 that may be small for biological samples.
el. A-3


0.43
particle
solvent
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
0
0.335



---
X-ray scattering power
of a protein solution
A 1 mg/ml solution of a globular protein 15kDa molecular mass such as lysozyme or myoglobin will scatter in the order of
1 photon in 106 incident photons
from H.B. Stuhrmann
Synchrotron Radiation Research
H. Winick, S. Doniach Eds. (1980)
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012

---
Solution X-ray scattering
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
Particles in solution => thermal motion => particles have a random orientation / X-ray beam. The sample is isotropic. Therefore, only the spherical average of the scattered intensity is experimentally accessible.
1-D data	loss of information
Low-resolution information on the global or	quaternary structure:
qmax = 0.5 Å-1 resolution : ca 15Å

---
Various stages of a SAXS study
- I - Data recording
- 0 – Sample preparation
Requirements:
Monodispersed solution
Ideality: no interparticle interaction.
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
Iexp(q) = N i1(q)

---
Ideality
Monodispersity
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
One must check that both assumptions are valid for the sample under study.
!
molecule
Iexp(q)

---
Perspective view of the SAXS beamline SWING (SOLEIL)
measuring cell
1m
Courtesy of J. Pérez (SOLEIL)
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012

---
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012

---
Various stages of a SAXS study
Measurements at several concentrations (1-10 mg/ml) and buffer measurement.
- I - Data recording
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012

---
Check for radiation damage
- II - Data quality assessment
Detect possible association (aggregation)
Detect possible concentration dependence indicative of interparticle interactions.
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
Combination of experimental curves « correct(ed) » scattering pattern:
Monodispersed solution
No interparticle interaction.
q (Å-1)
I(q)
Dilute, interaction free
Highest protein concentration

---
SE-HPLC / Solution Sampler
Size Exclusion
Incident X-ray
SAXS
Cell
Flow rate 5-40 µl/min
Pure sample
Protein concentration series
Ionic strength series
Gain of time
A step toward high throughput
Small volumes
G.David and J. Pérez, J. Appl. Cryst. (2009)
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
Pump
Injection-mixing
UV Detector (280 nm)
Flow rate 300 µl/min
Monodispersity is essential for SAXS measurements
Aggregation should be eliminated
Oligomeric conformations can be distinguished
Equilibrium states can be transiently separated
No time lost in collecting solution from HPLC

---
Basic law of reciprocity in scattering
- large dimensions r	small scattering angles q
small dimensions r	large scattering angles q
argument qr

---
Rotavirus VLP : diameter = 700 Å, 44 MDa MW
Lysozyme
Dmax=45 Å
14.4 kDa MW
10
1
10
2
10
3
10
4
10
5
10
6
10
7
10
8
0
0.125
0.25
0.375
lysozyme
rotavirus VLP
I(q)/c
-1
q=4

sin

(Å
)

---
- III - Data Analysis
Guinier plot
Rg (size) I(0) mol mass / oligomerisation state)
Swing – SAXS Instrument, resp. J. Pérez
SOLEIL (Saclay, France)
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
ideal
monodisperse
A. Guinier

---
Guinier plot
example
I(0)
Rg=27.8 Å
Validity range :
0 < Rgq<1 for a solid sphere
0 < Rgq<1.2 rule of thumb for a globular protein
Swing – SAXS Instrument, resp. J. Pérez
SOLEIL (Saclay, France)
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
qRg=1.2
ideal
monodisperse

---
Distance distribution function
p(r) is obtained by histogramming the distances between any
pair of scattering elements within the particle.
p(r)
Dmax
r
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
ideal
monodisperse
rij
j
i

---
Distance distribution function
In theory, the calculation of p(r) from I(q) is simple.
Problem : I(q) - is only known over [qmin, qmax] : truncation
- is affected by experimental errors
Calculation of the Fourier transform of incomplete and noisy data,
requires (hazardous) extrapolation to lower and higher angles.
Solution : Indirect Fourier Transform. First proposed by O. Glatter in 1977.
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
ideal
monodisperse

---
- III - Data Analysis
p(r) example
Elongated particle
p47 : component of NADPH oxidase from neutrophile, a 46kDa protein
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012
DMax
ideal
monodisperse

---
Kratky plot
SAXS provides a sensitive means of monitoring the degree of compactness of a protein:
when studying the folding or unfolding transition of a protein
when studying a natively unfolded protein.
This is most conveniently represented using the so-called
Kratky plot: q2I(q) vs q.
Globular particle : bell-shaped curve (asymptotic behaviour in q-4 )
Gaussian chain : plateau at large q-values (asymptotic behaviour in q-2 )
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012

---
- III - Data Analysis
PIR protein
Fully unfolded
XPC Cter Domain
unstructured
Unfolded with elements of secondary structure
NADPH oxidase P67
« Beads on a string » set of domains
1.1
structured
polymerase
Fully structured compact protein
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012

---
SOMO Workshop, 20th Intl AUC Conference, San Antonio, TEXAS, 25th - 30th March, 2012